## Slide 1: 1/28/25 Meeting Update
Plotting channel 2 data, checking axis scale, literature review

## Slide 2
Objective:
  Adjust the scale on the plots and determine the actual scale of recordings.
Methods:
  I consulted the data again as well as the catalog and found that the 1000x gain in the device means that the original signals were in fact recorded in mV, not µV as previously notated. However, this does not impact the plots itself, as they were just mislabeled and still represent the same numerical data.
  This is because in the csv file, if a value is noted as 2.3 volts, but the device has 1000x gain, then dividing by 1000 to retrace the original signal amplitude yields 0.0023 V, or 2.3 mV.
  This is equivalent to the original recorded data, and thus only the label needs adjustment.
Results:
  The adjusted plots are shown in the following slides.
Observation/Conclusion:
  Channel 2 data seems to still contain artifacts even after filtering and artifact rejection.
  Signal is clearer than raw signal regardless
Next Steps:
  Plot the filtered signals in time domain to understand if there are any consistent similarities/ obvious patterns among recordings, as well as identify artifacts.

## Slide 3: Dataset catalog:
File Name | Stimulation Present | Stimulation Type | Artifacts present | Observations
SDS00002.csv | No | - | Yes | 
SDS00003.csv | No | - | No | 
SDS00004.csv | Yes | Stir whiskers for 5s every 5s starting at 15s | No | 
SDS00005.csv | Yes | Stir whiskers for 5s every 5s starting at 15s | No | 
SDS00006.csv | No | - | No | 
SDS00007.csv | Yes | Pinch foot for 5s every 5s starting at 15s | No | 
SDS00008.csv | No | - | No | 
SDS00009.csv |  | Stir whiskers for 5s every 5s starting at 15s | No | 
SDS00010.csv | No | - | No | 
SDS00011.csv | Yes | Pinch foot for 5s every 5s starting at 15s | No | 
SDS00012.csv | No | - | No | 
SDS00013.csv | No | No rat, just electrodes | - | 

## Slide 4
Objective:
  Plot the filtered channel 2 data only for each dataset.
Methods:
  To create the unfiltered dataset, I loaded the files using python and saved the 2D array (2 channels of data, 1 channel of time information). To create the filtered dataset, I loaded the given csv files into eeglab and removed large artifacts, detrended the signal, applied 0.5-30Hz bandpass filter, ran ICA, and performed a moving average to smooth any noise.
  The signals were then loaded in python, the second channel specifically extracted by indexing the dataset.
Results:
  The new plots with correct axes are shown in the following slides.
Observation/Conclusion:
  A few recordings still contain large variations in their signals, and although some are more obviously artifacts, others are more ambiguous and it is more difficult to pinpoint where to crop the data, and if data should be cropped at all before performing TFR/ other visualizations.
Next Steps:
  Plot the TFR for each recording.

## Slide 5: SDS00002.csv : Silence

## Slide 6: SDS00003.csv: Silence

## Slide 7: SDS00004.csv: Stir Whiskers

## Slide 8: SDS00005.csv: Stir Whiskers

## Slide 9: SDS00006.csv: Silence

## Slide 10: SDS00007.csv: Pinch Foot

## Slide 11: SDS00008.csv: Silence

## Slide 12: SDS00009.csv: Stir Whiskers

## Slide 13: SDS00010.csv: Silence

## Slide 14: SDS00011.csv: Pinch Foot

## Slide 15: SDS00012.csv: Silence

## Slide 16: Compare Clean Silence and Stir Whiskers
Silence (SDS00010.csv)
Whisker (SDS00005.csv)

## Slide 17: Compare Clean Silence and Foot Pinch
Pinch Foot (SDS00011.csv)
Silence (SDS00010.csv)

## Slide 18: SDS00013.csv: No rat, just electrodes

## Slide 19
Objective:
  Plot a consistent and comparable TFR for all filtered datasets.
Methods:
  Since the MNE library had no solution for creating consistent TFR plots, I used a new tool called ObsPy to create TFR plots that have a consistent scale.
  This library is commonly used in earth sciences to plot seismological activity.
  However, its ability to create visualizations of waves and create more detailed and customizable spectrograms makes it appealing.
Results:
  The adjusted plots are shown in the following slides.
  The plots are much more detailed and allow for a consistent scale, allowing them to be compared side by side.
Observation/Conclusion:
  The silence recordings show more consistent results, with bands across recordings 3,6,8,10 and 12 at 5, 2, and 1 Hz.
  Recording 2 does not share this similarity, but it was noted that this recording can be ignored.
  The stirred whisker recordings also share these bands, but I am not yet sure if this is EEG activity or 60 Hz noise harmonics.
  This is also reflected in the recordings where the foot was pinched repetitively.
Next Steps:
  Understand how to differentiate between 60 Hz harmonics and EEG signals.

## Slide 20: TFR of SDS00002.csv: Silence

## Slide 21: TFR of SDS00003.csv: Silence

## Slide 22: TFR of SDS00004.csv: Stir Whiskers

## Slide 23: TFR of SDS00005.csv: Stir Whiskers

## Slide 24: TFR of SDS00006.csv: Silence

## Slide 25: TFR of SDS00007.csv: Foot Pinch

## Slide 26: TFR SDS00008.csv: Silence

## Slide 27: TFR SDS00009.csv: Stir Whiskers

## Slide 28: TFR of SDS00010.csv: Silence

## Slide 29: TFR of SDS00011.csv: Foot Pinch

## Slide 30: TFR of SDS00012.csv: Silence

## Slide 31: TFR of SDS00013.csv: No rat, just electrodes

## Slide 32: Compare Silence
SDS00005.csv
SDS00002.CSV
SDS00003.CSV
SDS00006.CSV
SDS00008.CSV
SDS00010.CSV
SDS00012.CSV

## Slide 33: Average Silence TFR

## Slide 34: Compare Stir Whiskers
SDS00004.csv
SDS00005.csv
SDS00009.csv

## Slide 35: Average Whisker TFR

## Slide 36: Compare Foot Pinch:
SDS00007.csv
SDS00011.csv

## Slide 37: Average Foot Pinch TFR

## Slide 38: Compare Average TFRs:
Silence
Stir Whiskers
Pinch Foot

## Slide 39
Objective:
  Plot the PSD of each recording channel 2 data.
Methods:
  I used the extracted channel 2 data from each recording and plotted the PSD using the welch method on traditional logarithmic scale.
Results:
  The PSD plots are shown in the following slides.
Observation/Conclusion:
  There appear to be consistent spikes at 5, 10, 15 and 20 Hz.
  This could be either EEG or 60 Hz harmonic noise
  There is a consistent increase in power in frequency bands “in between” spikes.
    The recordings with stimulation have higher power in between spikes, recordings with no stimulation have lower power.
    This can also be seen as a greater distance between peak and valley in signals.
Next Steps:
  Understand how to differentiate between harmonic noise and actual EEG activity of interest.
  Find relevant literature or plots that others have created to demonstrate the differences between the two.

## Slide 40: PSD of SDS00002.csv: Silence

## Slide 41: PSD of SDS00003.csv: Silence

## Slide 42: PSD of SDS00004.csv: Stir Whiskers

## Slide 43: PSD of SDS00005.csv: Stir Whiskers

## Slide 44: PSD of SDS00006.csv: Silence

## Slide 45: PSD of SDS00007.csv: Pinch Foot

## Slide 46: PSD of SDS00008.csv: Silence

## Slide 47: PSD of SDS00009.csv: Stir Whiskers

## Slide 48: PSD of SDS00010.csv: Silence

## Slide 49: PSD of SDS00011.csv: Pinch Foot

## Slide 50: PSD of SDS00012.csv: Silence

## Slide 51: PSD of SDS00013.csv: No rat

## Slide 52: Average of Silence PSD:

## Slide 53: Average of Whisker PSD:

## Slide 54: Average of Foot PSD:

## Slide 55: Overlapping averages:

## Slide 56: 2/3/25 Meeting
Plotting Intan files, comparing to previous recordings, analysis

## Slide 57: Objective
Surgery:
  Surgeon: Sofia (lead), Anvi, Yitong to place screws for EEG
EEG recording
  People: Han
  Record EEG signal from anesthetized (iso) rats with the objective of seeing difference between “rest” and “mechanical stimulation” in the EEG data.
Staining
  People: Yitong and Melanie
  Target SNpC and thalamus brain regions using stained rod/electrode
  Use stereotaxic instead of neuroglider

## Slide 58: Details on Animal
Date: 1/21/25
Animal ID: 27
Cage #: 1471670
Age: 158 days
Gender: female

## Slide 59: Surgical Log
Time | Flowrate (O2) | Resp | Breath Depth | Reflexes | Iso % | rectal temp (C)
0:00 | 770 | 1 Hz | normal | none | 2.8 | 34
0:15 | 770 | 1Hz | normal | none | 2.7 | 33.9
0:30 | 770 | 1hz | normal | none | 2.7 | 33
0:45 | 770 | 1 Hz | normal | none | 2.7 | 33.3
1:00 | 770 | 1 Hz | normal | none | 2.7 | 33.4
1:15 | 770 | 1hz | normal | none | 2.7 | 33
1:30 | 770 | 1hz | normal | none | 2.7 | 32.7
1:45 | 770 | 1hz | normal | none | 2.7 | 32.7
2:00 | 770 | 1hz | normal | None | 2.7 | 32.7
2:15 | 770 | 1 Hz | normal | none | 2.7 | 32.7
2:30 | 770 | 1 Hz | normal | none | 2.7 | 32.7
2:45 | 770 | 1 Hz | normal | none | 2.7 | 32.7
3:00 |  |  |  |  |  | 
3:15 |  |  |  |  |  | 
3:30 |  |  |  |  |  | 
3:45 |  |  |  |  |  | 
4:00 |  |  |  |  |  | 
4:15 |  |  |  |  |  | 
Induction start:3:31 Stereotaxic start: 3:40

## Slide 60: Observations
During surgery:
  Rat’s breathing was fast and the tone was not normal, so we induced the rat again. Second time the rat was doing better
  Decreased iso after ear bars placement to increase breathing rate a little
  Temperature probe was difficult to keep in
  The rats temperature was lower than normal because of the ambient air, the pad was set to 45 C.
  Injected: L , R, L SnPc, R SnPc
    Rod was coated after each injection
  .28” rod used for injection
What to improve for next surgery:
  Work on ear bar placement for Anvi
  Speeding up brain extraction
  Make burr hole larger, improve dura removal
  Sharpen rod, use smaller electrode
  Use neural glider

## Slide 61: Surgery Plan
Bregma
Target: SNPc
Coordinate:
ML (x):-2.829 mm
AP (y): -4.629mm
DV (z) : -7.274mm
Coordinate:
ML (x) : -1.8 mm
AP (y) : 1.8 mm
DV (z): -4 mm
Target: SNPc
Coordinate:
ML (x):2.829 mm
AP (y): -4.629mm
DV (z) : -7.274mm
Coordinate:
ML (x) : -1.8 mm
AP (y) : 1.8 mm
DV (z): -4 mm
Used hole from pervious experiment and matched its position on the right hemisphere
Notes: Coordinates used are from Waxholm brain atlas of sprague dawley at 80 days old.

## Slide 62
Options | AMP BW (Hz) | No of channel | Notch | Ref
1 | 0.5-100 | 4 | 60Hz | Hardware (short to gnd and subskin)
2 | 0.5-100 | 4 | 60Hz | Average
Ch13 – Ch 19 are connected
Only 19 17 16 14 13 are used
Final settings
Chassis gnd to signal gnd and then to the earth gnd
Start settings
Objective: Setup of INTAN system

## Slide 63
Objective: Setup of INTAN system
INTAN
Ref short to GND on headstage; and then inject to the rat skin (around neck)
Channel number | Color of cables | Coordinate | Region | Purpose
13 | yellow | ML-5.38 AP+1.16 | S1ULp | Should be right whiskers, error on drilling
14 | Orange | ML-2 AP2 | Edge of FrA and cc | Not designed for this, error on drilling
16 | Blue | ML-2 AP-1.5 | S1HL | Right foot
17 | Red | ML+3 AP+5 | FrA | Possible Ref
19 | Black | ML+5 AP-2.5 | S1BF | Left whiskers
Screw Positions

## Slide 64
Objective: Screw positions
Designed Coordinates
Region | Ch1 left whisker | Ch2 right whisker | Ch3 right foot | Ch4 ref(far from ch1-3)
ML | 5 | -5 | -2 | 3
AP | -2.5 | -2.5 | -1.5 | 5
DV | Touch dura | Touch dura | Touch dura | Touch dura
S1BF
Reference(FrA)
Screw holes: A little smaller than the screw and then drive it in
Ch1: Left whiskers
Ch3: Right foot
Ch2
Ch4 Ref
S1HL
Channel number | Color of cables | Coordinate | Region | Purpose
13 | yellow | ML-5.38 AP+1.16 | S1ULp | Should be right whiskers, error on drilling
14 | Orange | ML-2 AP2 | Edge of FrA and cc | Not designed for this, error on drilling
16 | Blue | ML-2 AP-1.5 | S1HL | Right foot
17 | Red | ML+3 AP+5 | FrA | Possible Ref
19 | Black | ML+5 AP-2.5 | S1BF | Left whiskers
Coordinates used in surgery

## Slide 65
Objective: Steps
2.7% Iso all the way during the recording;
# of Test | Duration | Action | Notes
2 | 90s | Silence; Hardware ref 002 | 
3 | 90s | Silence; AVG ref 003 | 
4 | 90s | Whisker 2 sides, stir+ clamp+light pull 004 | wait 10s and then start 5s +5s rest keep until 90s (10-15stim 16-20 rest, 21-25 stim… and repeat)
5 | 60s | Silence avg ref 005 | 
6 | 90s | Foot pinch 006 | Wait 10s, then foot pinch once at 11s, then 16-20s stim, 21-25 rest, 26-30 stim… then repeat until the end
7 | 106s | Silence 007 | 
8 | 102s | Whisker 008 | Wait 10s, 10-15 stim; 45-50stim; 1:30-1:35 stim Others all rest
9 | 30s | Silence 009 | 
10 | 90s | Silence; Add more blank channels 010 | Ch0: no headstage; ch20-23: no pins out, but on the headstage and adapter board
11 | 90s | Foot pinch011 | Wait 10s, 10-15stim 45-50stim 1:30-1:35 stim Others all rest
12 | 100s | Silence 012 | 
13 | 60s | No connection, only the headstage, in ESD bag, 013 | Touch the table at last few seconds
14 | 60s | No connection, only the headstage, in ESD bag, all channels on, 014 | Touch the table at last few seconds

## Slide 66
Title: ssEEG Project
Objective: Surgery Summery
Results:1. Use INTAN recorder 2. Better results
Results
03
04
03 | Silence; AVG ref 003 | 
04 | Whisker 2 sides, stir+ clamp+light pull 004 | wait 10s and then start 5s +5s rest keep until 90s (10-15stim 16-20 rest, 21-25 stim… and repeat)
Align with the stimulation

## Slide 67
Title: ssEEG Project
Objective: Surgery Summery
Results:1. Use INTAN recorder 2. Better results
Results
05 | Silence avg ref 005 | 
06 | Foot pinch 006 | Wait 10s, then foot pinch once at 11s, then 16-20s stim, 21-25 rest, 26-30 stim… then repeat until the end
05
06

## Slide 68
Title: ssEEG Project
Objective: Surgery Summery
Results:1. Use INTAN recorder 2. Better results
Results
07 | Silence 007 | 
08 | Whisker 008 | Wait 10s, 10-15 stim; 45-50stim; 1:30-1:35 stim Others all rest
07
08 Align with the stimulation

## Slide 69
Title: ssEEG Project
Objective: Surgery Summery
Results:1. Use INTAN recorder 2. Better results
Results
10 | Silence; Add more blank channels 010 | ch20-23: no pins out, but on the headstage and adapter board
11 | Foot pinch011 | Wait 10s, 10-15stim 45-50stim 1:30-1:35 stim Others all rest
12 | Silence 012 | 
10
11
12

## Slide 70
Objective: Refs
A Temporal–Spatial Atlas of Peripheral Nerve Evoked Cortex Potential in Rat: A Novel Testbed to Explore the Responding Patterns of the Brain to Peripheral Nerves
Methodological standards and interpretation of video-electroencephalography in adult control rodents. A TASK1-WG1 report of the AES/ILAE Translational Task Force of the ILAE

## Slide 71
Objective:
  Retrieve Intan data and transfer to .csv file format
Methods:
  I used given read_Intan file to process the data in Matlab and utilized the csvwrite() function to convert data into a usable format. From there, I was able to convert into a dataset that could be processed and filtered in eeglab.
Results:
  The data was successfully converted from an intan file format into .csv and then .set& .fdt files for eeglab processing.
Observation/Conclusion:
  There are 7 channels (expected) in the first 9 files, but the last 5 files have 12 channels.
Next Steps:
  Plot the time series representation of filtered data.

## Slide 72: Recording 2:Silence

## Slide 73: Recording 3:Silence

## Slide 74: Recording 4: Whisker

## Slide 75: Recording 5:Silence

## Slide 76: Recording 6: Foot pinch

## Slide 77: Recording 7: Silence

## Slide 78: Recording 8:Whisker

## Slide 79: Recording 9:Silence

## Slide 80: Recording 10:Silence

## Slide 81: Recording 11:Foot Pinch

## Slide 82: Recording 12:Silence

## Slide 83: Recording 13:No connection

## Slide 84: Recording 14: No connection

## Slide 85
Objective:
  Plot time series representations of filtered data
Methods:
  I used eeglab to process the data. Since the hardware already had a 60Hz notch filter, I did not add any other filter to remove 60 Hz noise. I visually rejected large artifacts, downsampled the data to 250 Hz, applied a 0.5-30 Hz bandpass filter, applied ICA to remove more artifacts, and applied a moving average to the data.
Results:
  The data was successfully cleaned and some patterns may be visible, but are not consistent.
Observation/Conclusion:
  There are 7 channels (expected) in the first 9 files, but the last 5 files have 12 channels.
Next Steps:
  Plot the TFR representation of filtered data.

## Slide 86: Filtered Time series plots

## Slide 87: Recording 2, stacked: Silence, hardware reference

## Slide 88: Recording 2, spread: : Silence, hardware reference

## Slide 89: Recording 3, stacked: Silence, average reference

## Slide 90: Recording 3, spread: Silence, average reference

## Slide 91: Recording 4, stacked: Whisker pull on both sides

## Slide 92: Recording 4, spread: Whisker pull on both sides

## Slide 93: Recording 5, stacked: Silence

## Slide 94: Recording 5, spread: Silence

## Slide 95: Recording 6, stacked: Foot pinch

## Slide 96: Recording 6, spread: Foot pinch

## Slide 97: Recording 7, stacked: Silence

## Slide 98: Recording 7, spread: Silence

## Slide 99: Recording 8, stacked: Whisker Stimulation

## Slide 100: Recording 8, spread: Whisker Stimulation

## Slide 101: Recording 9, stacked: Silence

## Slide 102: Recording 9, spread: Silence

## Slide 103: Recording 10, stacked: Silence, with more channels

## Slide 104: Recording 10, spread: Silence

## Slide 105: Recording 11, stacked: Foot pinch

## Slide 106: Recording 11, spread: Foot pinch

## Slide 107: Recording 12, stacked: Silence

## Slide 108: Recording 12, spread: Silence

## Slide 109: Recording 13, stacked: No connection, only headstage

## Slide 110: Recording 13, spread : No connection, only headstage

## Slide 111: Recording 14, stacked: No connection, only headstage

## Slide 112: Recording 14, spread: No connection, only headstage

## Slide 113
Objective:
  Plot TFR data of all recordings
Methods:
  I used Python to plot each relevant channel individually to analyze the TFR across each channel per each stimulation
Results:
  The stimultation plots show some response consistent with stimulation.
  Silence plots are still inconsistent.
Observation/Conclusion:
  There may be some repeatability, but it is still not consistent.
Next Steps:
  Understand the relationship between the channel and measured response with regard to stimulation.
  Plot the Power spectral density of each recording

## Slide 114: Time Frequency Response (TFR) Plots from Channel 1: A-013, focused on right whiskers

## Slide 115: Recording 2: Silence

## Slide 116: Recording 3: Silence

## Slide 117: Recording 4: Whisker Stimulation

## Slide 118: Recording 5: Silence

## Slide 119: Recording 6: Foot pinch

## Slide 120: Recording 7: Silence

## Slide 121: Recording 8: Whisker stimulation

## Slide 122: Recording 9: Silence

## Slide 123: Recording 10: Silence

## Slide 124: Recording 11: Foot pinch

## Slide 125: Recording 12: Silence

## Slide 126: Recording 13: No connection

## Slide 127: Recording 14: No connection

## Slide 128: All silence :
Recording 10
Recording 3
Recording 5
Recording 7
Recording 9
Recording 2
Recording 12

## Slide 129: Whisker stimulation:

## Slide 130: Foot Pinch:

## Slide 131: TFR of Channel 2 (A-014)

## Slide 132: Recording 2: Silence

## Slide 133: Recording 3: Silence

## Slide 134: Recording 4: Whisker

## Slide 135: Recording 5: Silence

## Slide 136: Recording 6: Foot pinch

## Slide 137: Recording 7: Silence

## Slide 138: Recording 8: Whisker

## Slide 139: Recording 9: Silence

## Slide 140: Recording 10: Silence

## Slide 141: Recording 11: Foot pinch

## Slide 142: Recording 12: Silence

## Slide 143: Recording 13: No connection

## Slide 144: Recording 14: No connection

## Slide 145: All Silence
Recording 10
Recording 3
Recording 5
Recording 7
Recording 9
Recording 2
Recording 12

## Slide 146: Whisker Stimulation

## Slide 147: Foot pinch

## Slide 148: TFR of Channel 4 data (A-016), focused on foot

## Slide 149: Recording 2: Silence

## Slide 150: Recording 3: Silence

## Slide 151: Recording 4: Whisker

## Slide 152: Recording 5: Silence

## Slide 153: Recording 6: Foot pinch

## Slide 154: Recording 7: Silence

## Slide 155: Recording 8: Whisker

## Slide 156: Recording 9: Silence

## Slide 157: Recording 10: Silence

## Slide 158: Recording 11: Foot pinch

## Slide 159: Recording 12: Silence

## Slide 160: Recording 13: No connection

## Slide 161: Recording 14: No connection

## Slide 163: TFR of Channel 5 data (A-017), reference

## Slide 164: Recording 2: Silence

## Slide 165: Recording 3: Silence

## Slide 166: Recording 4: Whisker

## Slide 167: Recording 5: Silence

## Slide 168: Recording 6: Foot pinch

## Slide 169: Recording 7: Silence

## Slide 170: Recording 8: Whisker

## Slide 171: Recording 9: Silence

## Slide 172: Recording 10: Silence

## Slide 173: Recording 11: Foot pinch

## Slide 174: Recording 12: Silence

## Slide 175: Recording 13: No connection

## Slide 176: Recording 14: No connection

## Slide 177: TFR of channel 6 (A-019) , focused on whiskers

## Slide 178: Recording 2: Silence

## Slide 179: Recording 3: Silence

## Slide 180: Recording 4: Whisker

## Slide 181: Compare Whisker
A-013
A-019
A-016
A-017
A-014

## Slide 182: Recording 5: Silence

## Slide 183: Recording 6: Foot pinch

## Slide 184: Recording 7: Silence

## Slide 185: Recording 8: Whisker

## Slide 186: Recording 9: Silence

## Slide 187: Recording 10: Silence

## Slide 188: Recording 11: Foot pinch

## Slide 189: Recording 12: Silence

## Slide 190: Recording 13: No connection

## Slide 191: Recording 14: No connection

## Slide 192
Objective:
  Plot PSD data of all recordings
Methods:
  I used Python to plot each relevant channel individually to analyze the frequency intensity across each channel per each stimulation.
Results:
  The first three recordings have more clear spikes in power differences, but later recordings are more evenly dispersed.
  Spikes at harmonics are still present.
Observation/Conclusion:
  The power density distribution remains consistent with previous representations.
Next Steps:
  Understand why only some recordings show individual, defined spikes in power distribution.

## Slide 193: Power Spectral Density (PSD) of all channels

## Slide 194: Recording 2: Silence

## Slide 195: Recording 3: Silence

## Slide 196: Recording 4: Whisker

## Slide 197: Recording 5: Silence

## Slide 198: Recording 6: Foot pinch

## Slide 199: Recording 7: Silence

## Slide 200: Recording 8: Whisker

## Slide 201: Recording 9: Silence

## Slide 202: Recording 10: Silence

## Slide 203: Recording 11: Foot pinch

## Slide 204: Recording 12: Silence

## Slide 205: Recording 13: No connection

## Slide 206: Recording 14: No connection